## HPD SUMMARY SHEET
HIGH PERFORMANCE DESIGN REPORT
EQUIPMENT OR SYSTEM ENERGY COMPLIANCE AND LIFE CYCLE COST | [20 empty] | REVISION 9 OCT 1, 2022
(FOR CATEGORY 1,2,3,4 NON-LEED PROJECTS)
[6 empty] | SEE GUIDE NOTE TAB AND CELL COMMENT BOXES FOR ADDITIONAL INFORMATION | [7 empty] | INPUT DATA ONLY ACCEPTED INTO THOSE CELLS WITH SUNBURST PATTERN IN CENTER AS SHOWN
PROJECT TITLE:
PROJECT NMBR:
DATE:
RESPONSIBLE ENGINEER &FIRM:
PLEASE CHECK COMPONENT EQUIPMENT OR SYSTEM COMPARED ON THIS SHEET | [5 empty] | ENERGY, UTILITY RATES AND GHG FACTORS (use source codes to enter up to 3 energy sources in "Annual Energy Use and Cost" table below)
(use separate sheet for each component comparison): | [5 empty] | SOURCE CODE | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 9 | 10
CHILLERS |  |  | CONDENSING UNITS |  |  | ENERGY OR | ELECTRICITY | ELECTRICITY | NAT'L GAS | NAT'L GAS | STEAM OR | DISTRICT | No. 2 | No. 6 | WATER | WATER/SEWER | CARBON
UNITARY A/C AND CONDENSING UNITS |  |  | COOLING TOWERS |  |  | UTILITY SOURCE | w/o Demand | w/ Demand | (Small Bldgs) | (Large Bldgs) | HTHW | CHILLED WATER | FUEL OIL | FUEL OIL (not used) | ONLY | COMBINED | ADJUSTMENT
UNITARY HEAT PUMPS |  |  | WATER HEATING EQUIPMENT |  |  | UNIT | KWH | KWH | MMBTU | MMBTU | MMBTU | TON-HR | MMBTU |  | CCF | CCF | MTCDE
PACKAGED TERMINAL A/C AND HEAT PUMPS |  |  | LIGHTING |  |  | UTILITY RATE | 0.14 | 0.14 | 9.5 | 9.5 | 12 | 0.12 | 30 |  | 4 | 9.75 | 84.14
FURNACES AND UNIT HEATERS |  |  | OTHER (Specify in box below:) |  |  | ESCALATION | 4% | 4% | 3% | 3% | 6% | 4% | 4% |  | 8% | 6% | 3%
BOILERS | [5 empty] | GHG FACTOR | 0.00024177 | 0.00024177 | 0.05306 | 0.05306 | 0.066325 | 0.0002055 | 0.07396 |  | 0 | 0 | N/A
|  |  | PROJECT LIFE: (years) |  | INPUT DATA |  | 4: INPUT DATA; 5: ←←←←←←←←; 6: →→→→→→→→; 7: OUTPUT DATA
FIRST ROW (YELLOW SHADED) REPRESENTS BASE CASE OR STANDARD REFERENCE DESIGN. FOLLOWING ROWS ARE UP TO FOUR ALTERNATES.
| COMPONENT, SYSTEM, OR EQUIPMENT (Conform with design nomenclature) | DESCRIPTION (Include Manufacturer) | COST OF EQUIPMENT OR SYSTEM | EQUIPMENT OR SYSTEM LIFE (years) | REPLACEMENT COST OF EQUIPMENT DURING PROJECT LIFE | YEAR WHEN REPLACEMENT COST OCCURS | ANNUAL O&M COST | REBATE OR INCENTIVE | MINIMUM REQUIRED PERFORMANCE | CALCULATED OR RATED PERFORMANCE | UNITS (e.g. % , kw/ton, EER, IPLV, COP) | PERFORMANCE INCREASE ABOVE CODE-REQUIRED (Percent Increase) | INCREMENTAL COST ABOVE BASE | EQUIPMENT REPLACEMENT COST IN YEAR ENTERED WITH ESCALATION | TOTAL ANNUAL ENERGY COST (Year 1) | TOTAL ENERGY COST SAVINGS (Year 1) | SAVINGS TO INVESTMENT RATIO | SIMPLE PAYBACK | INTERNAL RATE OF RETURN (IRR) | TOTAL LCC (INCLUDES INITIAL COST, ENERGY, AND O&M) | TOTAL LCC (WITH ANNUAL CARBON ADJUSTMENT)
BASE REFERENCE
ALTERNATE "A"
ALTERNATE "B"
ALTERNATE "C"
ALTERNATE "D"
ANNUAL ENERGY USE, ANNUAL ENERGY COST, AND ANNUAL GHG EMISSIONS
|  |  | ENERGY OR UTILITY SOURCE 1 |  |  |  | 3: ENERGY OR UTILITY SOURCE 2 |  | ENERGY OR UTILITY SOURCE 3 |  |  |  | TOTAL ANNUAL ENERGY COST (Year 1) | TOTAL ANNUAL GHG EMISSIONS (MTCDE) | INITIAL CARBON ADJUSTMENT COST
| ENERGY SOURCE CODE | ENERGY USE | UNITS | ENERGY RATE (dollars per unit) | ENERGY COST FOR THIS SOURCE | GHG EMISSIONS FOR THIS SOURCE (MTCDE) | ENERGY SOURCE CODE | ENERGY USE | UNITS | ENERGY RATE (dollars per unit) | ENERGY COST FOR THIS SOURCE | GHG EMISSIONS FOR THIS SOURCE (MTCDE) | ENERGY SOURCE CODE | ENERGY USE | UNITS | ENERGY RATE (dollars per unit) | ENERGY COST FOR THIS SOURCE | GHG EMISSIONS FOR THIS SOURCE (MTCDE)
BASE REFERENCE
ALTERNATE "A"
ALTERNATE "B"
ALTERNATE "C"
ALTERNATE "D"
| INPUT DATA | [5 empty] | 1: INPUT DATA; 7: INPUT DATA
Note on E21: ENTER WHOLE NUMBER UP TO 30 YEARS. VALUE IN THIS CELL IS USED TO DETERMINE LCC, SIR, AND IRR FOR THE BASE REFERENCE AND ALL ALTERNATES.
Note on B25: CONFORM WITH DESIGN NOMENCLATURE (e.g. B-1 or CT-1) OR WITH COMPONENT EQUIPMENT TYPE PER ABOVE)
Note on C25: INCLUDE MANUFACTURER AND MODEL NUMBER
Note on D25: INCREMENTAL COSTS ABOVE BASE ARE DERIVED FROM DIFFERENCES IN THESE EQUIPMENT COSTS. IF A LIFE CYCLE COST IS DESIRED BASED ON ENERGY OR O&M COSTS ALONE, THEN ENTER "$1"
Note on E25: USE 2011 ASHRAE APPLICATIONS CHAPTER 37 FOR STANDARD SERVICE LIFE. ENTER A WHOLE NUMBER FROM 1 TO 30 YEARS. EQUIPMENT LIFE IS FOR INFORMATIONAL PURPOSES ONLY AND IS NOT USED IN COMPUTATIONS
Note on F25: ENTER ONE-TIME COST IN PRESENT VALUE DOLLARS FOR FUTURE REPLACEMENT TO EQUILIBRATE EQUIPMENT LIVES WITH PROJECT LIFE. IF NO REPLACEMENT COSTS, THEN LEAVE BLANK
Note on G25: ENTER THE NUMBER OF YEARS FOLLOWING CONSTRUCTION WHEN REPLACEMENT COST OCCURS. CANNOT EXCEED PROJECT LIFE YEARS. IF NO REPLACMENT COSTS, THEN LEAVE BLANK
Note on I25: ENTER "0" IF NO REBATE
Note on J25: INSERT MINIMUM REQUIRED PERFORMANCE BASED UPON IECC 2012 AND EQUIPMENT CAPACITY
Note on K25: INSERT RATED PERFORMANCE BASED UPON MANUFACTURERS PUBLISHED DATA
Note on L25: SELECT ONE OF THE FOLLOWING PERFORMANCE UNITS, WHICH FIXES UNIT SELECTION FOR ANY ALTERNATES: % (PERCENT EFFICIENCY) KW/TON (KILOWATTS PER TON) EER (ENERGY EFFICIENCY RATIO) COP (COEFFICIENT OF PERFORMANCE) W/FT2 (WATTS PER SQUARE FOOT) GPM OR BTUH/HP (GPM OR BTUH PER HORSEPOWER) NOTE: USE IPLV (INTEGRATED PART LOAD VALUE) TO DETERMINE KW/TON
Note on M25: CALCULATES INCREASE ABOVE IECC 2012 MINIMUM FOR WHICH ALL EQUIPMENT MUST BE AT LEAST 25% BETTER.
Note on N25: REBATES NOT INCLUDED IN THIS INCREMENTAL COST.
Note on O25: CALCULATES COST IN PRESENT VALUE DOLLARS FOR EQUIPMENT REPLACEMENT IN THE YEAR SPECIFIED, USING THE ESCALATION RATE FOR O&M
Note on R25: SAVINGS TO INVESTMENT RATIO (SIR) IS EVALUATED OVER PROJECT LIFE. IF INCALCULABLE, (e.g. INCREMENTAL COST OR INVESTMENT = 0, DIV/0) DISPLAYS "XXX"
Note on S25: COMPUTED AS FIRST YEAR INCREMENTAL COST MINUS REBATES, DIVIDED BY FIRST YEAR ENERGY AND O&M SAVINGS. IF INCALCULABLE (e.g. NO SAVINGS AND DIV/0) DISPLAYS "XXX"
Note on T25: IRR IS CALCULATED OVER SYSTEM LIFE. IF INCALCULABLE, WILL DISPLAY "XXX"
Note on U25: PRESENT VALUE DOLLARS OVER SPECIFIED EQUIPMENT OR SYSTEM LIFE. INCLUDES REBATE CREDIT.
Note on V25: SUM OF LCC PLUS CARBON ADJUSTMENT OVER PROJECT LIFE WITH CONSTANT ESCALATION RATE FROM "LCC AND IRR COMPARISONS" ENTERED IN CELL M33
Note on H32: PLEASE ENTER BASE REFERENCE VALUES (TOPMOST YELLOW LINE) FIRST. CAN THEN COMPARE UP TO THREE ENERGY SOURCES FOR EACH OF FOUR ALTERNATIVES. SIMPLY INPUT ENERGY USE AND ENERGY SOURCE CODE FOR EACH ALTERNATIVE; UNITS, RATES, COSTS AND GHG EMISSIONS ARE COMPUTED WHEN THE ENERGY SOURCE CODES FOR THE BASE REFERENCE IS PROVIDED.
Note on T33: COST FOR THE BASE OR ALTERNATIES MUST BE PROVIDED IN TABLE ABOVE TO ACTIVATE CALCULATION OF THE ANNUAL ENERGY COST
Note on V33: ESTABLISHES INITIAL CARBON ADJUSTMENT WHICH IS CONSTANT MTCDE TIMES COST PER TON FROM "LCC AND IRR COMPARISONS" ENTERED IN CELL M32
Note on B34: SELECT AND ENTER THE APPROPRIATE CODE FOR THIS ENERGY SOURCE: 1 ELECTRICITY W/O DEMAND 2 ELECTRICITY W/ DEMAND 3 NATURAL GAS (SMALL BLDGS) 4 NATURAL GAS (LARGE BLDGS) 5 STEAM OR HTHW 6 DISTRICT CHILLED WATER 7 NO. 2 FUEL OIL 8 NO. 6 FUEL OIL 9 WATER 10 WATER/SEWER
Note on H34: SELECT AND ENTER THE APPROPRIATE CODE FOR THIS ENERGY SOURCE: 1 ELECTRICITY W/O DEMAND 2 ELECTRICITY W/ DEMAND 3 NATURAL GAS (SMALL BLDGS) 4 NATURAL GAS (LARGE BLDGS) 5 STEAM OR HTHW 6 DISTRICT CHILLED WATER 7 NO. 2 FUEL OIL 8 NO. 6 FUEL OIL 9 WATER 10 WATER/SEWER
Note on N34: SELECT AND ENTER THE APPROPRIATE CODE FOR THIS ENERGY SOURCE: 1 ELECTRICITY W/O DEMAND 2 ELECTRICITY W/ DEMAND 3 NATURAL GAS (SMALL BLDGS) 4 NATURAL GAS (LARGE BLDGS) 5 STEAM OR HTHW 6 DISTRICT CHILLED WATER 7 NO. 2 FUEL OIL 8 NO. 6 FUEL OIL 9 WATER 10 WATER/SEWER

## LCC AND IRR COMPARISONS (hidden)
BROWN UNIVERSITY
LIFE CYCLE COST AND IRR COMPARISONS | [7 empty] | IRR TARGET | 8.5% |  |  | PROJECT LIFE (YRS) | 0 |  |  |  | BASE REFERENCE O&M COSTS | [5 empty] | TOTAL ENERGY AND UTILITY COSTS (NOT SAVINGS) FOR BASE REFERENCE
FOR EQUIPMENT AND/OR LEED THERMAL ENERGY MODELS | [16 empty] | PROJECT YEAR | ANNUAL O&M COST | LIFE CYCLE O&M COST | PROJECT YEAR | ELECTRICITY w/o Demand | ELECTRICITY w/ Demand | NAT'L GAS (Small Bldgs) | NAT'L GAS (Large Bldgs) | STEAM OR HTHW | DISTRICT CHILLED WATER | No. #2 FUEL OIL | No. #6 FUEL OIL | WATER ONLY | WATER/SEWER COMBINED | ANNUAL ENERGY COST | LIFE CYCLE ENERGY COST
[17 empty] | 0 |  |  | 0
INPUT VALUES - BASE REFERENCE | [8 empty] | CALCULATED VALUES | [7 empty] | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Project Title or Building Name: |  | 0 |  | BASE REFERENCE DATA | [6 empty] | BASE REFERENCE | ALTERNATE "A" | ALTERNATE "B" | ALTERNATE "C" | ALTERNATE "D" |  | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Project Number: | 0 |  |  | Base Cost of Equipment or System: |  |  | 0 |  | Incremental Cost Above Base: |  | 0 | [5 empty] | 3 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Date: | 0 |  |  | Base Energy Cost, Annual |  |  |  |  | Year 1 Energy Cost Savings: | [7 empty] | 4 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Base Reference Description: |  | 0 |  | Base O&M Cost, Annualized: |  |  | 0 |  | Year 1 O&M Cost Savings: |  | 0 | [5 empty] | 5 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Alternate "A" Description: |  | 0 |  | Base Rebates and Incentives: |  |  | 0 |  | Life Cycle Energy Cost: | [7 empty] | 6 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Alternate "B" Description: |  | 0 |  | Equipment or System Life: |  |  | 0 |  | Life Cycle O&M Cost: | [7 empty] | 7 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Alternate "C" Description: |  | 0 | [6 empty] | Life Cycle Energy and O&M Cost: |  | 0 | 0 | 0 | 0 | 0 |  | 8 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Alternate "D" Description: |  | 0 | [6 empty] | Savings to Investment Ratio | [7 empty] | 9 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Simple Payback: | [7 empty] | 10 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | IRR: | [7 empty] | 11 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 12 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 13 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INPUT VALUES - ALTERNATES | [16 empty] | 14 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ALTERNATE "A" DATA |  |  |  | ALTERNATE "B" DATA |  |  |  | ALTERNATE "C" DATA |  |  |  | ALTERNATE "D" DATA |  |  |  |  | 15 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost of Alternate Equipment or System: |  |  | 0 | Cost of Alternate Equipment or System: |  |  | 0 | Cost of Alternate Equipment or System: |  |  | 0 | Cost of Alternate Equipment or System: |  |  | 0 |  | 16 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Alternate "A" Energy Cost, Year 1: |  |  |  | Alternate "B" Energy Cost, Year 1: |  |  |  | Alternate "C" Energy Cost, Year 1: |  |  |  | Alternate "D" Energy Cost, Year 1: |  |  |  |  | 17 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Alternate "A" O&M Cost, Annualized: |  |  | 0 | Alternate "B" O&M Cost, Annualized: |  |  | 0 | Alternate "C" O&M Cost, Annualized: |  |  | 0 | Alternate "D" O&M Cost, Annualized: |  |  | 0 |  | 18 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Alternate "A" Rebates and Incentives, Annualized: |  |  | 0 | Alternate "B" Rebates and Incentives, Annualized: |  |  | 0 | Alternate "C" Rebates and Incentives, Annualized: |  |  | 0 | Alternate "D" Rebates and Incentives, Annualized: |  |  | 0 |  | 19 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Alternate "A" Equipment or Service Life: |  |  | 0 | Alternate "B" Equipment or Service Life: |  |  | 0 | Alternate "C" Equipment or Service Life: |  |  | 0 | Alternate "D" Equipment or Service Life: |  |  | 0 |  | 20 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 21 | 0 | 0 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 22 | 0 | 0 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | ENERGY AND UTILITY RATES AND ESCALATION FACTORS | [6 empty] | O&M COSTS | CARBON ADJ |  |  |  |  | 23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UTILITY | ELECTRICITY | ELECTRICITY | NAT'L GAS | NAT'L GAS | STEAM OR | DISTRICT | No. 2 | No. 6 | WATER | WATER/SEWER | [6 empty] | 24 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| w/o Demand | w/ Demand | (Small Bldgs) | (Large Bldgs) | HTHW | CHILLED WATER | FUEL OIL | FUEL OIL | ONLY | COMBINED | [6 empty] | 25 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 26 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UNIT | KWH | KWH | MMBTU | MMBTU | MMBTU | TON-HR | MMBTU | MMBTU | CCF | CCF |  | MTCDE |  |  |  |  | 27 | 0 | 0 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UTILITY RATE | 0.13 | 0.14 | 11 | 12 | 13 | 0.11 | 14 | 15 | 5.5 | 13 |  | 77 |  |  |  |  | 28 | 0 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ESCALATION | 4% | 4% | 3% | 3% | 6% | 4% | 4% | 4% | 8% | 6% | 3% | 3% |  |  |  |  | 29 | 0 | 0 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SOURCE CODE | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | [6 empty] | 30 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | ENERGY AND UTILITY COST SAVINGS | [6 empty] | O&M COST SAVINGS | INCREMENTAL COST OR FUTURE REPLACEMENT COST | REBATES AND INCENTIVES | ALTERNATE "A" |  |  | 0 | [5 empty] | TOTAL ENERGY AND UTILITY COSTS (NOT SAVINGS) FOR ALTERNATE "A"
PROJECT YEAR | ELECTRICITY w/o Demand | ELECTRICITY w/ Demand | NAT'L GAS (Small Bldgs) | NAT'L GAS (Large Bldgs) | STEAM OR HTHW | DISTRICT CHILLED WATER | No. #2 FUEL OIL | No. #6 FUEL OIL | WATER ONLY | WATER/SEWER COMBINED |  |  |  | TOTAL ANNUAL ENERGY COST SAVINGS | TOTAL ANNUAL ENERGY AND O&M COST SAVINGS | TOTAL ANNUAL COST SAVINGS (FOR IRR CALC) | ANNUAL O&M COST | LIFE CYCLE O&M COST | IRR (AT END OF YEAR) | PROJECT YEAR | ELECTRICITY w/o Demand | ELECTRICITY w/ Demand | NAT'L GAS (Small Bldgs) | NAT'L GAS (Large Bldgs) | STEAM OR HTHW | DISTRICT CHILLED WATER | No. #2 FUEL OIL | No. #6 FUEL OIL | WATER ONLY | WATER/SEWER COMBINED | ANNUAL ENERGY COST | LIFE CYCLE ENERGY COST
0 | [12 empty] | 0 | [6 empty] | 0
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | ENERGY AND UTILITY COST SAVINGS | [6 empty] | O&M COST SAVINGS | INCREMENTAL COST OR FUTURE REPLACEMENT COST | REBATES AND INCENTIVES | ALTERNATE "B" |  |  | 0 | [5 empty] | TOTAL ENERGY AND UTILITY COSTS (NOT SAVINGS) FOR ALTERNATE "B"
PROJECT YEAR | ELECTRICITY w/o Demand | ELECTRICITY w/ Demand | NAT'L GAS (Small Bldgs) | NAT'L GAS (Large Bldgs) | STEAM OR HTHW | DISTRICT CHILLED WATER | No. #2 FUEL OIL | No. #6 FUEL OIL | WATER ONLY | WATER/SEWER COMBINED |  |  |  | TOTAL ANNUAL ENERGY COST SAVINGS | TOTAL ANNUAL ENERGY AND O&M COST SAVINGS | TOTAL ANNUAL COST SAVINGS (FOR IRR CALC) | ANNUAL O&M COST | LIFE CYCLE O&M COST | IRR (AT END OF YEAR) | PROJECT YEAR | ELECTRICITY w/o Demand | ELECTRICITY w/ Demand | NAT'L GAS (Small Bldgs) | NAT'L GAS (Large Bldgs) | STEAM OR HTHW | DISTRICT CHILLED WATER | No. #2 FUEL OIL | No. #6 FUEL OIL | WATER ONLY | WATER/SEWER COMBINED | ANNUAL ENERGY COST | LIFE CYCLE ENERGY COST
0 | [12 empty] | 0 | [6 empty] | 0
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | ENERGY AND UTILITY COST SAVINGS | [6 empty] | O&M COST SAVINGS | INCREMENTAL COST OR FUTURE REPLACEMENT COST | REBATES AND INCENTIVES | ALTERNATE "C" |  |  | 0 | [5 empty] | TOTAL ENERGY AND UTILITY COSTS (NOT SAVINGS) FOR ALTERNATE "C"
PROJECT YEAR | ELECTRICITY w/o Demand | ELECTRICITY w/ Demand | NAT'L GAS (Small Bldgs) | NAT'L GAS (Large Bldgs) | STEAM OR HTHW | DISTRICT CHILLED WATER | No. #2 FUEL OIL | No. #6 FUEL OIL | WATER ONLY | WATER/SEWER COMBINED |  |  |  | TOTAL ANNUAL ENERGY COST SAVINGS | TOTAL ANNUAL ENERGY AND O&M COST SAVINGS | TOTAL ANNUAL COST SAVINGS (FOR IRR CALC) | ANNUAL O&M COST | LIFE CYCLE O&M COST | IRR (AT END OF YEAR) | PROJECT YEAR | ELECTRICITY w/o Demand | ELECTRICITY w/ Demand | NAT'L GAS (Small Bldgs) | NAT'L GAS (Large Bldgs) | STEAM OR HTHW | DISTRICT CHILLED WATER | No. #2 FUEL OIL | No. #6 FUEL OIL | WATER ONLY | WATER/SEWER COMBINED | ANNUAL ENERGY COST | LIFE CYCLE ENERGY COST
0 | [12 empty] | 0 | [6 empty] | 0
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | ENERGY AND UTILITY COST SAVINGS | [6 empty] | O&M COST SAVINGS | INCREMENTAL COST OR FUTURE REPLACEMENT COST | REBATES AND INCENTIVES | ALTERNATE "D" |  |  | 0 | [5 empty] | TOTAL ENERGY AND UTILITY COSTS (NOT SAVINGS) FOR ALTERNATE "D"
PROJECT YEAR | ELECTRICITY w/o Demand | ELECTRICITY w/ Demand | NAT'L GAS (Small Bldgs) | NAT'L GAS (Large Bldgs) | STEAM OR HTHW | DISTRICT CHILLED WATER | No. #2 FUEL OIL | No. #6 FUEL OIL | WATER ONLY | WATER/SEWER COMBINED |  |  |  | TOTAL ANNUAL ENERGY COST SAVINGS | TOTAL ANNUAL ENERGY AND O&M COST SAVINGS | TOTAL ANNUAL COST SAVINGS (FOR IRR CALC) | ANNUAL O&M COST | LIFE CYCLE O&M COST | IRR (AT END OF YEAR) | PROJECT YEAR | ELECTRICITY w/o Demand | ELECTRICITY w/ Demand | NAT'L GAS (Small Bldgs) | NAT'L GAS (Large Bldgs) | STEAM OR HTHW | DISTRICT CHILLED WATER | No. #2 FUEL OIL | No. #6 FUEL OIL | WATER ONLY | WATER/SEWER COMBINED | ANNUAL ENERGY COST | LIFE CYCLE ENERGY COST
0 | [12 empty] | 0 | [6 empty] | 0
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | #NUM! | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
THE TABLE BELOW IS SIMPLY A COPY OF THE SAME TABLE ON THE TAB "OTHER PROJECT SUMMARY SHEET" (NON LEED COMPARISONS) WITH HYPERLINKS TO VALUES ON THAT SHEET. SIMPLER TO PUT IT HERE THAN TO HYPERLINK REFERENCES ON THE OTHER TAB WHEN DISTRIBUTING ENERGY COSTS.
ANNUAL ENERGY USE AND COSTS
| ENERGY OR UTILITY SOURCE 1 |  |  |  |  | ENERGY OR UTILITY SOURCE 2 |  |  |  |  | ENERGY OR UTILITY SOURCE 3
ENERGY USE | UNITS | ENERGY RATE (dollars per unit) | ENERGY COST FOR THIS SOURCE | ENERGY SOURCE CODE | ENERGY USE | UNITS | ENERGY RATE (dollars per unit) | ENERGY COST FOR THIS SOURCE | ENERGY SOURCE CODE | ENERGY USE | UNITS | ENERGY RATE (dollars per unit) | ENERGY COST FOR THIS SOURCE | ENERGY SOURCE CODE | TOTAL ANNUAL ENERGY COST (Year 1)
0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
Note on H27: THIS TABLE ESTABLISHES THE CURRENT UTILITY AND ESCALATION RATES. THESE FIGURES ARE USED IN MANY FORMULAS. . RECOMMEND THAT THIS TABLE STAY IN THIS POSITION.
Note on I182: PLEASE ENTER BASE REFERENCE VALUES (TOPMOST YELLOW LINE) FIRST. CAN THEN COMPARE UP TO THREE ENERGY SOURCES FOR EACH OF FOUR ALTERNATIVES. SIMPLY INPUT ENERGY USE FOR EACH ALTERNATIVE; UNITS, RATES, AND COSTS ARE COMPUTED WHEN THE ENERGY SOURCE CODE FOR THE BASE REFERENCE IS PROVIDED.
Note on E184: SELECT AND ENTER THE APPROPRIATE CODE FOR THIS ENERGY SOURCE: 1 ELECTRICITY W/O DEMAND 2 ELECTRICITY W/ DEMAND 3 NATURAL GAS (SMALL BLDGS) 4 NATURAL GAS (LARGE BLDGS) 5 STEAM OR HTHW 6 DISTRICT CHILLED WATER 7 NO. 2 FUEL OIL 8 NO. 6 FUEL OIL 9 WATER ONLY 10 WATER/SEWER COMBINED
Note on J184: SELECT AND ENTER THE APPROPRIATE CODE FOR THIS ENERGY SOURCE: 1 ELECTRICITY W/O DEMAND 2 ELECTRICITY W/ DEMAND 3 NATURAL GAS (SMALL BLDGS) 4 NATURAL GAS (LARGE BLDGS) 5 STEAM OR HTHW 6 DISTRICT CHILLED WATER 7 NO. 2 FUEL OIL 8 NO. 6 FUEL OIL 9 WATER ONLY 10 WATER/SEWER COMBINED
Note on O184: SELECT AND ENTER THE APPROPRIATE CODE FOR THIS ENERGY SOURCE: 1 ELECTRICITY W/O DEMAND 2 ELECTRICITY W/ DEMAND 3 NATURAL GAS (SMALL BLDGS) 4 NATURAL GAS (LARGE BLDGS) 5 STEAM OR HTHW 6 DISTRICT CHILLED WATER 7 NO. 2 FUEL OIL 8 NO. 6 FUEL OIL 9 WATER ONLY 10 WATER/SEWER COMBINED

## GUIDE NOTES
GUIDE NOTES FOR USE WITH
BROWN HIGH PERFORMANCE DESIGN REPORT
Overview
All energy consuming equipment installed at Brown should ideally be selected on the basis of lowest life cycle cost. The purpose of the HPD report is to provide a one-page summary comparing a base reference equipment selection with alternate equipment selections. The report compares efficiencies, annual energy costs, life cycle costs, internal rates of return, simple paybacks, savings to investment ratios, and greenhouse gas savings with the intent of selecting equipment based upon sound environmental and financial criteria.
The HPD report is divided into two worksheet tabs (other than this Guide Note tab). As information is input into the "HPD Summary Sheet" worksheet tab, calculations are performed on the "LCC and IRR Comparisons" tab, then output back onto the summary sheet. Only the HPD Summary Sheet and Guide Notes are available to the user.
The HPD report will compare a base reference with up to 4 alternates. Each alternate may use up to three different energy or utility sources. For example, one can compare a base reference air handling unit with 4 alternate selections, and it may compare them using (for example) consumption of district steam, district chilled water, and/or electric power (fan energy). Base reference and alternates are color coded on all worksheets.
The HPD report has a maximum project life of 30 years. Projects which are compared over a longer time period will require custom intervention by Brown Engineering staff. Contact the Brown project manager for assistance.
Fill in general project information and place a checkmark for the component equipment or system under review. Check "Other" if component is not listed, and describe same in the box provided.
Input Data
Input cells are in areas noted as “Input Data”, and are additional noted by white “sunbursts” in the center of the input cells. These cells are the only ones in which data can be input; all other cells are locked and protected.
Input Energy and Utility Source Data
As mentioned above, up to three sources of energy or utility data may be accommodated for each alternate. The only inputs required for the base reference and each alternate are the "Source Codes" and the predicted annual energy use. Entering the "Source Code" fixes the unit, unit cost, and GHG factor.
Comment Boxes
Attention is drawn to the red triangles in the upper right corner of some cells which can be opened by hovering over them. These provide additional specific information related to the associated cell.
Project Life vs. Equipment Life
Entries in Column “Equipment or Service Life” may differ between the base reference and alternates, and is provided for informational (not computational purposes). “Project Life” entry however, is a single input, applies to the base reference and alternates, and must be the same for the life cycle cost comparison to be on an equal basis.
Base references and alternates with different equipment/service lives will then require manual inputs to establish both the associated replacement cost and the year in which it occurs, so that all life cycle costs can be compared over the same period of time (“Project Life”). Upon input of the replacement cost in present value dollars and the year in which it occurs, the spreadsheet will automatically calculate the future value of the replacement cost and display it in Column “Equipment Replacement Cost...with Escalation”. It will then calculate the future value in the appropriate year, enter it as an additional incremental cost in the background, and then use it to determine the life cycle cost and the IRR.
At the present time, only one “Other Incremental Cost” instance (e.g. replacement cost in Year X) is permitted. Alternatively, recurring incremental costs may be converted into an annualized O&M Cost in Year 1 which can then be incorporated (with escalation) into the life cycle cost calculation. Contact the Brown Project Manager for guidance in entering multiple, recurring equipment replacement costs over the project life.
Base Reference
All base references must meet the minimum requirement of 25% better than the IECC Code minimum efficiency. The IECC Code minimum efficiencies by equipment type and classification are provided in tabular form in Chapter 4 (Commercial Energy Efficiency) of the Code.
Try to fill in base reference information prior to that for alternatives. Failure to do so may result in #VALUE, #ERROR, or #NUM errors until base reference information is provided.
Internal Rate of Return
By definition, the IRR must have a “negative savings” or incremental cost above that of the base reference in order to determine the annualized rate of return, based upon life cycle costs, for that item. If there is no negative value in the series of annual costs over the project life, then the IRR will deliver a #NUM or #VALUE error and "xxxx" will be displayed.
This calculation tool uses the standard IRR function in Excel rather than the MIRR function. It is possible to have more than one solution to the standard IRR operation when more than one negative value is presented. Excel will try to find a solution and after 20 iterative attempts, will abort the operation and display an error message. Contact the Brown Project Manager for guidance in entering multiple negative values.
It may be advisable to use the alternate with the lowest “Cost of Equipment or System” as the Base Reference so that the other alternates will have a higher cost, therefore an initial incremental cost (“negative savings”), and therefore a computable IRR. If the costs between two alternatives are identical, then one way to circumvent this in order to produce an IRR is to arbitrarily increase an alternate cost by $1 above the base reference.
Carbon Adjustment
Commencing with Revision 8, an alternate LCC is provided which is the sum of the standard LCC and the carbon adustment cost computed over the entered life of the project, in present value dollars. The carbon adjustment cost uses the PV function in Excel which assumes a constant payment amount and a constant escalation rate. The constant payment amount is the calculated MTCDE for the selected fuel(s) times the cost per ton (initially $77/MTCDE). The escalation rate for carbon is normally 3%. The cost per ton and escalation rate are entered in the "Energy, Utility Rates and GHG Factors" table.